[image: image1.jpg]N
IS ¢

=

HEE





EVAPORATIVE AIR COOLER

Operation User Manual

[image: image8.jpg]



Model No.: DAK-410Y
INTRODUCTION

● Thank you for purchasing our air cooler.

● Each unit has been manufactured to ensure safety and reliability.

● Before first use,read the instructions carefully and keep it for further reference
Working principle
·The draught fan does a suction to make a sub-pressure, at the same time the 

pump carries the water to the distribution instrument to make the wet curtain 

moist.

·The hot air passes through the wet curtain, and the heat is absorbed by the 

evaporating water, then the temperature comes down. The cool air is blown 

out by the fan. The unevaporated water would drop to the water tank and 

form a circulation.

·Please open the window and the door when you are using this machine. 

To keep fresh air circulating smoothly, the best way is to place it in front of 

the ventilation corridors.
Precautions

Before any maintenance, make sure the machine is in the “off” state, and the power is switched off.In order to avoid the electric shock, please connect the grounding socket correctly, and guarantee the connection of the grounding device with the function of automatic protection from faults.  

This machine cannot be used by children and people who lack relevant knowledge or experience, or the people with impaired sensory or mental disorders. Children should not be allowed to play with this machine.

Please stop using the machine immediately if the power cord aged or the plug damaged, it should be repaired by professional staffs. 

Do not use any corrosive or solvent detergent for cleaning. It is recommended to use wet cloth to wipe the machine instead of flushing the machine. Please avoid the machine exposed to direct sunlight.

It is strictly prohibited to use this machine in a circumstance with inflammable or explosive gas.

It is forbidden to overturn the machine as to avoid any accident. If the machine falls over due to carelessness, and it is loaded with water, immediately pull out the power plug and send it to the repair division or after sales office for repair. 

Do not lay any object on the machine to cover the air inlet and outlet. 

The machine outside shall be cleaned by rubbing with a wet cloth (or with a small amount of detergent). It is not allowed to use corrosive detergent or similar solvent to clean. Do not rinse the machine. 

Do not make the air inlet and outlet of this machine near wall or curtains, to avoid any danger or damage to the machine. 

10. During use, the machine shall not be knocked or shocked fiercely, otherwise it may cause automatic shutdown. (Only for remote-control type)

11. During summer, the water in the box may go bad and produce strange smell. The water shall be changed regularly. 

12. The product maintenance shall be carried out at the point designated by the company. 

13. It is normal for the presence of a little odor for the machine during the initial two usages. The odor is given away by the new wet curtain paper in first contact with water. 

Structural Diagram (Note: this diagram is only for reference.)

[image: image7.jpg].

Evaporative Air Cooler



                                

         

                    [image: image2.jpg]N
IS ¢

=

HEE





Product Parameters

	Model No.
	Rated voltage
	Power
	Water tank
	Product size

	DAK-410Y
	220-240V~ 50-60Hz
	200W


	70L


	617*391*1060mm (without wheels)
617*391*1123mm

(with wheels)


Operation instructions

Filling water has two way: 
First, as shown in Figure 1, open up cover plate, filling slowly with clean water. Second shown in Figure 2, open the front water inlet box, filling slowly with clean water.
                                               [image: image3.jpg]



Figure 1                         Figure 2
The usage of ice-box:

If you use ice-box for the first time: open the lid, inject water up to the scale, then tighten the lid.

ii. Set aside for 30-40minutes, till the water and ice crystal mix completely. 

iii. Put the icebox in the refrigerator's freezer room to stay for two hours.

iv. Take the icebox out and put it into the air cooler's ice container in order to cool down the water temperature.

v. After using it for a long time, the ice crystal turns to jelly, please put it in the refrigerator again. It can be recycled and reused.

3. The drain outlet is on the bottom, as shown in Figure 3. 

Loose the drain nut, and tilt the machine body, the water tank can be completely emptied. The machine should be regularly drained and cleaned. 

If it will not be used for a long time, please empty the water tank.

[image: image4.jpg]



Figure3
V. Control panel
[image: image5.png]sssssssssssssssssssssssssssss




·ON/OFF key: Power button. Press this button to open the air cooler; press this button at any state to stop the operation.

·SWING key: Control the left-right swing, press again to stop swinging.

·COOL key: Press to open or close the cooling system.

·TIMER key: Press to set timing system. The timer range is from 1h-12h.

·SPEED key: Continuously press this key, the wind speed will shift as per following mode and indicators will light on correspondingly. 

Low speed→Moderate speed→High speed

[image: image6.png]



·MODE key: Press to change the wind type：natural wind or normal wind.
Notice: Do not open the cooling system when the water tank is empty.
VI. Cleaning and maintenance
Warm prompt: After long-time operation, dust accumulation on the pre-filters and the wet curtain would affect the airflow and air purify. Please clean the machine regularly. 

Clean wet curtain

Turn off the power, loose the screws in the back-cover plate, take out the back-cover plate.

Loose the plastic nuts on the wet curtain, the side of wet pad can be removed. clean it with soft brush and mild detergent, rinse by water and dry under the sunshine, then install back to the machine.

If the dirt is hard to remove after long-term usage, please change a new wet curtain.

 Cleaning the water tank 

The water tank can be pulled out to clean. When cleaned, rinse several times with clean tap water. After that, drain out the water through the drain valve and clean tap water shall be guaranteed for use. 

Clean the surface

Turn off the power, clean it with mild detergent and soft cloth.

Notice: Control panel shall not be touched by water.
VII. Fault and maintenance
	Failure phenomenon
	Possible results
	Solutions

	LED display is light off
	The power cord is

unplugged or poor contact.

LED screen is damaged.

Circuit board error.
	1.Plug in the power to

form a good connection.

2.Replace LED screen.

3.Replace circuit board.

	Water pump doesn't work
	Water-pipe blockage.

Without long-term water

cooling.

Poor water quality to produce scale make central shaft stuck.
	Use a small brush to clean.
the pipe and keep smooth

water flow.

Long time for cooling

without water cause pump

damaged, need to replace

a new water-pump.

Remove the shaft, clean

the dirt on the surface, add

proper lubricating oil insert

it, and debug the shaft.

	No wind or wind speed is too

 slow
	1. The fan blades are stuck.

2. The filter is blocked.

3. Fan blade is not fixed.

4. Main control panel error.
	1. Check the fan blade.

2. Clean or replace filter.

3. Replace fan blade.

4. Replace main control panel.

	Motor is out of control
	Main control panel button is broken.

2. The wiring of the motor and control panel falls off.
	1. Replace main control panel.

2. Replace a new wire to

connect the motor and control panel.

	Drain valve is leaking
	Drain valve is broken.

Rubber band drop.
	Replace the drain valve.

Add a new rubber band.


Control panel





Upper water receiver


(water inlet)


 





Caster





Wind inlet








Wind outlet





Water level window











