
[image: image1.jpg]1\
X X PN R\ PN PN 3

A )

> \
|

NN AN AN AN A
| __ _ _\ _
i _ o1 T _ A

i — gann





EVAPORATIVE AIR COOLER

[image: image10.jpg].

Evaporative Air Cooler




Model No.: DAK-Z33DR
INTRODUCTION
● Thank you for purchasing our air cooler.

● Each unit has been manufactured to ensure safety and reliability.

● Before first use, read the instructions carefully and keep it for further reference.

Precautions

1. This product shall be used under the rated voltage. 

2. Non-professional repair personnel are not allowed to do any repair modification on the machine without authorization.  

3. It is forbidden to operate with wet hands as to avoid injury due to electric shock. 

4. If the power cord is broken, as to avoid danger, the replacement shall be carried out by the personnel designated by the manufacturer or from its repair division and the like. 

5. If out of use for a long period, or if necessary to clean and move the machine, the power plug shall be pulled out. 

6. In order to avoid accident or damage to the machine, do not insert any foreign object into the inlet and outlet. 

7. This machine is not intended for outdoor use; it is forbidden to use in the environment with flammable and explosive gas, and avoid direct sunlight on the machine.  

8. Do not lay the machine on inclined or not flat floors. 

9. At any time, the water level for the box shall not exceed “MAX” (maximum) scale as indicated. The total water level shall not be lower than “MIN” (minimum) scale as indicated during cold air/humidifying.

10. If the water box is filled with water, the machine shall not be inclined or collided when laid or moved. If necessary to move, slowly push the body from the side as to avoid water overflow. 

11. It is forbidden to overturn the machine as to avoid any accident. If the machine falls over due to carelessness, and it is loaded with water, immediately pull out the power plug and send it to the repair division or after sales office for repair. 

12. Do not lay any object on the machine to cover the air inlet and outlet. 

13. The machine outside shall be cleaned by rubbing with a wet cloth (or with a small amount of detergent). It is not allowed to use corrosive detergent or similar solvent to clean. Do not rinse the machine. 

14. Do not make the air inlet and outlet of this machine near wall or curtains, to avoid any danger or damage to the machine. 

15. During use, the machine shall not be knocked or shocked fiercely, otherwise it may cause automatic shutdown. (Only for remote-control type)

16. During summer, the water in the box may go bad and produce strange smell. The water shall be changed regularly. 

17. The product maintenance shall be carried out at the point designated by the company. 

18. It is normal for the presence of a little odor for the machine during the initial two usages. The odor is given away by the new wet curtain paper in first contact with water. 

II. Structural Diagram (Note: this diagram is only for reference.)
Control panel

      [image: image2.jpg]1\
X X PN R\ PN PN 3

A )

> \
|

NN AN AN AN A
| __ _ _\ _
i _ o1 T _ A

i — gann




                           [image: image3.png]



III. Technical Parameter

	Model
	Rated power supply
	Rated power
	Max. water volume to be filled

	DAK-Z33DR
	220-240V~ 50Hz
	150W
	40L


IV. Functional Characteristics

·Cold air humidifying principle

 The water pump is utilized to pump the cold air in the water box to the body top and make it flow down through the wet curtain paper, then with the operating wind wheel to blow out cold air of certain humidity surrounding the wet curtain paper; it is a fact that the heat is absorbed when water evaporates, so it will work to lower the temperature and humidity. 

·Protection against idling and dry heating under the water pump out of water

The water tank is provided with a water level switch, to always monitor the level condition in the tank and it may make a “beep” sound for alarming as to protect the water pump against idling and dry heating under the state of no water.

·Electronic control 
This machine is provided with electronic control function, allowing for safe and long-term use, and decent outside. 

·Wind speed and wind classification to be adjusted
It is designed with three shifts of wind speed and three wind classes, ensuring large air delivery, which creates cozy living environment for you in hot weathers, and it can deliver air left and right, up and down. 

·Wide-range air blast

The swing vane can move by itself and the wind direction can be up and down, left and right for wide-range air blast. 

Automatic vanes, wind horizontal blowing in wide angle, left and right; manual horizontal vanes, up and down wind direction can be selected.
·Remote-control function 

Five-meter long distance remote control and receipt from a wide angle of 60 degrees. 

·The button with beep prompt function

Beep prompt for effective button operation, easy to use.

V. Assembly and Water Filling Method 

1. Unpack and take out the air cooler, and lay the fan on the flat floor; check the conformity of parts in the package against the packing list together with the instructions. 

The universal wheel with brake is installed in the back two hole positions of the bottom of the air cooler, and the universal wheel without brake is installed in the front two hole positions of the bottom of the air cooler.( IMAGE 1 )
Water filling:

Open the top cover of the air cooler, then add clean water into the water tank. ( IMAGE 2 )
Notes: 

a. Pull out the power plug before filling water. 

b. Observe the water level reading of the water tank during water filling. ( IMAGE 3 )

c. Please note that the water level for the tank shall not exceed “MAX” (maximum) scale as indicated during water filling. The total water level shall not be lower than “MIN” (minimum) scale as indicated during cold air humidifying. 

d. In order to achieve accelerated effect of reduced temperature, the upper water receiver can be filled with ice or ice-crystal box.
[image: image4.png]—— MAX LEVEL

MIN LEVEL

IMAGE1 IMAGE2 IMAGE3




Warm tips: the instructions and package shall be kept properly for future use, if necessary. 

VI. Instructions

Using Method for Product
[image: image5.png]OOOOOOOOOOOOOOOOOOOOOOOOOOOOO





·ON/OFF key: After plugging in the power, the air cooler is in standby state, and the buzzer gives the prompt sound of "Bi". Press this button to open the air cooler, which starts at a medium speed, and then turns to a low speed. Press this button again to turn off the air cooler.

·SPEED key: Continuously press this key, the wind speed will shift as per following mode and indicators will light on correspondingly. 

Low speed→Moderate speed→High speed

[image: image6.png]



·MODE key: Press this button to cycle through the normal wind—natural wind—sleep wind, and there is a corresponding indicator light. There is no corresponding indicator light in the normal wind state of this product. Sleep wind mode: 1h at high speed, 1h at medium speed, and finally keep at low speed.

·SWING key: Press this button, the wind direction can automatically swing left and right, and the indicator light is on, then press this button to cancel the function; Manual lateral swing, manually up and down to choose the wind direction.

·COOL key: Press this button to start the cold air function. At this time, if you place the frozen ice crystal box or ice cube in the water box, the outlet temperature can be reduced by about three degrees after a few minutes.
·TIMER key: When the air cooler is running, press this key for once, it will enter timing state, and at this moment, the timing period is set at 1h. The period can be randomly chosen from1- 12h. Increase each time by 1 hour. When the timing is 12h, press the button again, the timing function will be canceled. Switch the timing time according to the following figure: 

[image: image7.png]1 —s 2h — 3h —>4h—l

!

cancel timing4—12h 4= ------ «=6h  <4=5h




Using Method for Remote Controller

Open the battery cover back at the remote controller to load two AAA batteries for use. Each keystroke function for the remote controller is same as that for the control panel. When used, the remote controller shall be directed against the receiving window, with an effective distance of 5m. When not in use, the remote controller shall be kept properly for future use. 

Note: 

a. Used batteries cannot be in mixed use with the new batteries. 

b. If the remote controller is out of use for a long period, the batteries shall be taken out. 

Using Method for Ice-crystal Box

Ice crystal box has special characteristics of cold storage and heat preservation, can slowly absorb heat in the water, the water temperature in the tank is lower than the environment temperature, so that the wind blowing out of the fan is cooler.

Using method:

Place the ice crystal box directly into the freezer until the ice crystal box is completely frozen.

b. Open the cover of water receiver on the top of the body, and put the ice crystal box into it.

c. The ice-crystal box can be recycling used.

VII. ELECTRIC PRINCIPLE DIAGRAM

[image: image8.png]Motor
Brown L :W*A] AN
Blue N —

Thermal cut off
Capacitor
Power plug

0
B PCB o
Transformer %WE_D :DOW:@

Humidification pump

e

1T

0SC2
@:—”
cor comr

Swing motor Water level switch





VIII. Cleaning and Maintenance

Warm tips: after a long-time usage, the machine shall be regularly cleaned subject to actual situation for the air intake volume and dust removal effect to be decreased by the blocking of dirt such as dust gathered on the honeycomb paper. 

[image: image9.png]T
g%i%%%%%%%%%%i%%%%%%%%%2%%%%%%%%1

g%%§§§§%%%%%%i%%%%%%%%%%%%%%!

;
8 %%%%%2Z%%%%ZZ%%%%Z%%%%%%%%1

s

imagel





Cleaning the honeycomb paper (image 1)

Pull out the power plug, use neutral detergent and soft brush to clean the honeycomb paper, and rinse with clean water.

Note: the wet curtain paper shall be installed flat and smooth, to avoid water leakage. 

2. Cleaning the water tank (image 2)

The fixed water tank cannot be pulled out to clean. When cleaned, rinse several times with clean tap water. After that, drain out the water through the drain valve and clean tap water shall be guaranteed for use. 

3. Cleaning the shell

Clean with neutral detergent and a soft cloth. 

Warning: due to the existence of high voltage inside, when cleaned, the power plug must be pulled out and operation be carried out without live voltage. 

         Any part of the control panel shall not be soaked in water. 

IX. Malfunction and Maintenance

Following check is required to be done before your request for maintenance. 

	Failure details
	Possible cause
	Solution

	Unable to run
	1. The power cord is not plugged or \poorly connected.

2. ON/OFF key on the control panel is not pressed down.
	1. Connect to the power supply and make it well -connected.

2. Press ON/OFF key on the control panel to make it connected.

	Bad dust removal effect
	The air filter is blocked by dust and other 

dirt to influence the wind volume.

2. The wind inlet is blocked by foreign object.
	1. Dismantle and clean the air filter.

2. Remove the foreign object at the inlet.

	Water pump out of   work
	1. The water pump may work for over 8h.

2. The water level of the tank is lower than     the MIN level line.
	1. Pull out the power plug and start again.

2. Add water in the box and start   again.


Send the machine for repair in case of any one of the following situations:

1. Above troubleshooting methods are void for abnormal or no running. 

2. Abnormal running occurs with the presence of foreign object or water. 

Upper water receiver


(water inlet)


 





Outfall





Water tank








Back wind inlet








Wind inlet








Caster





Water level window








Wind outlet








1

